## Slide 1: New hardware and software technologies for real-time control in nuclear fusion experiments.
Marco Gottardo

## Slide 2: The RFX consortium

## Slide 3: R5 Machine Room

## Slide 4: let's look back to 1991

## Slide 5: let's look back to 1991
Marco Gottardo
SamuelePoppi

## Slide 6: What were we doing?
installation of a high number of signal cables between the machine and the cublicles in the R4 diagnostic room adiacent to machine room. (useful work for prof. Zilli).
installation of a high number of optical fibers to bring the trigger to all the diagnostics in R4. (work supervisor dott. Volker Schmidt)

## Slide 7: Data lines coming in R4 through the wall

## Slide 8: R4 diagnostic room

## Slide 9: R4 diagnostic room

## Slide 10: R4 diagnostic room. Cubicles

## Slide 11: R4 signal cables and fiber optics

## Slide 12: instrumentation for diagnostics

## Slide 13: diagnostic cabinet

## Slide 14: Current diagnostic system
In the cubliches on R4, adjacent to the R5, they are installed old designed RACK, called CAMAC crate.
in the CAMAC slots are mounted cards based on FPGA technology.
Each acquisition board is provided with two separate high speed analog channels. That is synchronized to the experiment via two TTL signals, the clock and the trigger transmitted in fiber optic.

## Slide 15: CAMAC crate

## Slide 16: pulse phases
The RFX-mod experiment of plasma magnetic confinement located in the Ionized Gas Institute of the National Research Council of Padua is of impulsive nature.
The diagnostics connected to the toroidal device are involved by following the steps listed below:
PRE
INI
PON
PRI/SEC

## Slide 17: Pulse phases

## Slide 18: Why the pulse required 4 stages?
These are necessary from the fact that the experiment has a high number of diagnostics connected to the RFP machine and located in a room adiacent to R5.
The torus is located in R5, from which start an intricate network of signals that pass through an hole in the wall to reach the cabinets in the room R4.
All diagnostics are setup from the control room where pulse is prepared according to the four steps listed.

## Slide 19: PRE phase
This phrase has a duration not predetermined because it depends on the number of instruments involved in the experiment.
Typically the time required is 3 to 15 minutes.
The computer terminals, in the control Room, are connected to the MDSplus system who perform the preparation and synchronization of the all instruments.

## Slide 20: INI phase
about a minute before the pulse signal is sent to all tools that have responded positively to do initialization.
This signal is called ARM and puts them on waiting the trigger signal.
Received this they will begin data acquisition.

## Slide 21: PON phase
PON is the abbreviation for Pulse ON. It is the phase in which the trigger signal enables data acquisition.

## Slide 22: Pri/SEC phase
(PRI=primary e SEC=secondary) ,
this is the stage in which the instruments return or rework data. There are two phases because the tools are of two types. Tool slow. fast tool.
Typically is the mass of data to process that terminates the response time.
To be put in the tree of traverse the data must be delivered by software tools called dispatcher. This occurs through the phase called store.

## Slide 23: MDSPlus concept.
It is a non-relational database but hierarchical accessible by authorized research groups inside or outside the institution in which the experiment takes place.
It generates a tree whose nodes are impulses.

## Slide 24: MDSPlus tree in RFX.
Per l’esperimento RFX MDSPlus genera due alberi.
RFX (historic all pulses)
RFX-run (Data stored h24 with technical measures, the baking, etc.).

## Slide 25: MDSPlus
It prepares the system for reception and storage of data initially creating a new node. This is done by taking a form prepared with node number of -1, which functions as a template, to which is referred to by the name of model.

## Slide 26: The -1 model on MDS Plus
Il model -1, insert the parameters of the experiment I want to parameterize or execute, in essence a new pulse.
Is the staff in the control room that assigns the number to the current shot.

## Slide 27: New pulse (Control room)
In RFX, to perform a new impetus must be present in the control room 4 figures, who play the roles of :
C.S. scientific coordinator
S.L. scientific leader
R.T. technical manager (responsabile tecnico)

## Slide 28: New pulse (Control room)
Si avviano le tre fasi di predisposizione, a tutti gli effetti i parametri impostati nel template -1 verranno passati all’impulso reale che sta per essere eseguito:
Clock mode -> It must be indicated whether internal or external, in the case of internal must indicate the sampling frequency (frequecy sample).
Trigger mode: Set as external. It can set as software mode.
Number of sample that defines how many samples will be acquired and subsequently stored in the MDSPlus tree pulse.

## Slide 29: acquired data
The data may be queried / viewed via the traverse, and jscope, having the appearance of graphs can show a high number of curves simultaneously.
The main communication protocol is the Ethernet, which enables the insertion of cards Redpitaya as device acquisition.

## Slide 30: What is an FPGA?
FPGA (Field Programmable Gate Array)
It is a tecnology which can allows parallel calculations in real time customizing the internal architetture by VHDL program.
The main topic of my research program consists in developing a new general purpose struments to install directly on the machine.
In particular the developments of this tool will start from the managements of the asynchronous events in a new configuration for fast ADC .

## Slide 31: What is an FPGA?
The Field Programmable Gate Array are composed of three elements.
    logic cells
    I/O cell
    Interconnection cells.
There are in addition groups of internal RAM.

## Slide 32: FPGA: The logic cell Logic cell whit 4 input Look up table

## Slide 33: FPGA: The I/O cell

## Slide 34: FPGA: Interconnection cells

## Slide 35: FPGA: Chip concept

## Slide 36: First ways of realization.
FPGA programming based on PXI.

## Slide 37: Labview FPGA program for PXI

## Slide 38: Second ways of realization.
FPGA programming based on RedPitaya.

## Slide 39: Second way permit of...
Using WiFi capabilities a lot of tools can be monted directly on the machine.
Drastically reduce the length of the signal cables.
Reduce noise induced in the cables.
Reduce the number and size of the cabinets for diagnostic in R4.

## Slide 40: Redpitaya Layout and connector

## Slide 41: Redpitaya: WiFi or Ethernet connection

## Slide 42: Possible interface
Normal Ethernet operation on LAN
Xbee to create a grid of intelligent sensor

## Slide 43: Redpitaya functional blocks

## Slide 44: Interfaccia WEB

## Slide 45: Micro-GT mini 2
It is generating a sequence of 8 pulses of the duration of 20us each.

## Slide 46: TTL trigger interface

## Slide 47: Pulse sequence
start
parameters setting
acquisition sequence
Data access
Stop

## Slide 48: Pulse sequence
start
parameters setting
acquisition sequence
Data access
Stop
jTraverse

## Slide 49: Pulse sequence
start
parameters setting
acquisition sequence
Data access
Stop
jTraverse
mdstcl

## Slide 50: Pulse sequence
start
parameters setting
acquisition sequence
Data access
Stop
jTraverse
mdstcl
jScope

## Slide 51: Parameters setting New experiment node
Usando il Jtraverser creiamo il nuovo nodo ed impostiamo i parametri nel pannello dello strumento virtuale.
At the Linux prompt:
[gottardo@ra22]$ jTraverser
And create a new experiment called ‘Test’ with the shot number -1

## Slide 52: Parameters setting New experiment node

## Slide 53: Setup virtual device

## Slide 54: New virtual panel

## Slide 55: MDSPlus TCL

## Slide 56: acquisition sequence
$ mdstcl
TCL > set tree test
TCL >crea pulse 2
TCL >set tree/shot=2
TCL >do/method redpitaya1 init
------------------------------------------------------------
(system setup all of the diagnostic instrumentation.)

## Slide 57: Init diagnostic

## Slide 58: (the system is waiting for the trigger)
On the control room, the scientific leader call:
Start pulse sequence number ’35000’……
five ... four ... three ... two .. one.. zero
pulse !!!

## Slide 59: Press trigger button

## Slide 60: Of course the interface is arranged to obtain a remotely trigger .
connect the trigger here

## Slide 61: Store sequence
TCL > do /method \store
TCL > close
--------------------------------------------------------------
The data were stored in the traverser
Its will be available to every research group

## Slide 62: Jscope: New panel just type ‘jScope’ at the prompt

## Slide 63: The scope need a configuration one error result just making drag and drop

## Slide 64: How to configure the jScope? First:selec the server

## Slide 65: How to configure the jScope? second:customize it act on Global settings

## Slide 66: How to configure the jScope? third:indicate the esperiment session and shot number

## Slide 67: Jscope show the stored data acquire by RedPitaya new application.

## Slide 68: FPGA Altera

## Slide 69: What i’m going to do?

## Slide 70: Grazie per l’attenzione.
Marco Gottardo